# ICS 77. 120. 99

H 68

National Standard of the People’s Republic China

GB/T 15072.7-2008

Replaces GB/T 15072.7-1994, GB/T 15072. 18-1994, GB/T 15072.19-1994

Test methods of precious metal alloys

Determination of chromium and iron contents for gold alloys

Inductively coupled plasma atomic emission spectrometry

贵金属合金化学分析方法

金合金中铬和铁量的测定

电感耦合等离子体原子发射光谱法

(English Translation)

Issue date:2008-03-31                      Implementation date: 2008-09-01

Issued by   General Administration of Quality Supervision, Inspection and

Quarantine of the people's Republic of China

Standardization Administration of the people's Republic of China

Foreword

SAC/TC 243 is in charge of this English translation. In case of any doubt about the contents of English translation, the Chinese original shall be considered authoritative.

This standard is an integrated revision of GB/T 15072-1994( Chemical analysis methods for precious metals and their alloys)(all parts), which is divided into 19 parts:

—GB/T 15072.1-2008 Test methods of precious metal alloys Determination of gold content for gold, platinum and palladium alloys potentiometric titration with ferrous sulfate.

—GB/T 15072.2-2008 Test methods of precious metal alloys Determination of silver content for silver alloys potentiometric titration with sodium chloride.

—GB/T 15072.3-2008 Test methods of precious metal alloys Determination of platinum content for gold, platinum and palladium alloys Current titration with potassium permanganate.

—GB/T 15072.4-2008 Test methods of precious metal alloys Determination of palladium content for palladium and silver alloys butanedione dioxime gravimetry.

—GB/T 15072.5-2008 Test methods of precious metal alloys Determination of silver content for gold and palladium alloys potentiometric titration with potassium iodide.

—GB/T 15072.6-2008 Test methods of precious metal alloys Determination of iridium content for platinum and palladium alloys potentiometric titration with ferrous sulfate.

—GB/T 15072.7-2008 Test methods of precious metal alloys Determination of chromium and iron contents for gold alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.8-2008 Test methods of precious metal alloys Determination of copper content for gold, palladium and silver alloys EDTA complexometric back titration with thiourea precipitation.

—GB/T 15072.9-2008 Test methods of precious metal alloys Determination of indium content for gold alloys EDTA complexometric back titration.

—GB/T 15072.10-2008 Test methods of precious metal alloys Determination of nickel content for gold alloys EDTA complexometric back titration.

—GB/T 15072.11-2008 Test methods of precious metal alloys Determination of gadolinium and beryllium contents for gold alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.12-2008 Test methods of precious metal alloys Determination of vanadium content for silver alloys Hydrogen peroxide spectrophotometry.

—GB/T 15072.13-2008 Test methods of precious metal alloys Determination of tin, cerium and lanthanum contents in silver alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.14-2008 Test methods of precious metal alloys Determination of aluminium and nickel contents for silver alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.15-2008 Test methods of precious metal alloys Determination of nickel, zinc and manganese contents for gold, silver and palladium alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.16-2008 Test methods of precious metal alloys Determination of copper and manganese contents for gold alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.17-2008 Test methods of precious metal alloys Determination of tungsten content for platinum alloys Tungsten trioxide gravimetry.

—GB/T 15072.18-2008 Test methods of precious metal alloys Determination of zirconium and gallium contents for gold alloys Inductively coupled plasma atomic emission spectrometry.

—GB/T 15072.19-2008 Test methods of precious metal alloys Determination of vanadium and magnesium contents for silver alloys Inductively coupled plasma atomic emission spectrometry.

This part is the seventh part of GB/T 15072-2008.

This part replaces GB/T 15072.7-1994(Methods for chemical analysis of precious metals and their alloys Gold alloys Determination of chromium content),GB/T 15072.19-1994 (Methods for chemical analysis of precious metals and their alloys Gold alloys Determination of chromium content) and GB/T 15072.18-1994 (Methods for chemical analysis of precious metals and their alloys Gold alloys Determination of iron content).

The following deviations have been made with respect to the GB / T 15072.7-1994, GB / T 15072.19-1994 and GB / T 15072.18-1994(the previous edition):

——Merge and revise the previous three standards into one standard, GB/T 15072.7-1994/GB/T15072.19-1994 Methods for chemical analysis of precious metals and their alloys Gold alloys Determination of chromium content and GB/T 15072.18-1994 Methods for chemical analysis of precious metals and their alloys Gold alloys Determination of chromium content as Test methods of precious metal alloys Determination of chromium and iron contents for gold alloys by inductively coupled plasma atomic emission spectrometry;

——Inductively coupled plasma atomic emission spectrometry replaces coulometry, ferrous sulfate titration and spectrophotometry of the previous standard;

——The scope of the method is extended from AuNiCr5-1, AuNiCr5-2, AuNiFeZr9-2-0.3, AuNiFeZr5-1.5-0.3 alloys of the original standard to the series of AuNiCr, AuFeCr and AuNiFeZr alloys, of which AuFeCr is new;

——The range of chromium content(mass fraction) is extended from 0.5% ～ 3% to 0. 5% ～7%; and iron from 1% ～3% to 0.5% ～7%;

—— Repeatability and relative deviation replace the allowed deviation of original standard.

Appendix A (Annex A) is informative.

This part was proposed by Nonferrous Metals Industry Association of China.

This part was prepared by SAC/TC 243 Chinese Nonferrous Metal Standardization Technical Committee.

The previous editions of this part are as follows:

——GB / T 15072.7-1994, GB / T 15072.19-1994, GB / T 15072.18-1994.

Test methods of precious metal alloys

Determination of chromium and iron contents for gold alloys

Inductively coupled plasma atomic emission spectrometry

1   Scope

This part specifies a method for the determination of chromium and iron contents in gold alloys.

The part is applicable to the determination of chromium and iron contents between 0.5% and 7 % (mass fraction) in AuNiCr, AuFeCr and AuNiFeZr alloys.

2   Normative references

The following normative documents contain provision which through reference in this test, constitute provisions of this part. For dated references, subsequent amendments (excluding corrections), or revisions, of any of these publications do not apply to this part. However parties to agreements based on this part are encouraged to investigate the possibility of applying the most resent editions of the normative documents indicated below. For undated references, the latest edition of the normative document referred to applies.

YS/T 371 Methods for chemical analysis of precious metals alloys General rules and regulations.

3   Method abstract

The test portion shall be dissolved in hydrochloric acid and nitric acid. Gold will be reduced and separated with sulfite. Yttrium should be added as internal standard.  The chromium and iron contents can be determined by inductively coupled plasma atomic emission spectrometry (ICP-AES) and calculated as mass fraction.

4   Reagents and materials

Unless otherwise stated, use only reagents and materials as specified in YS/T 371.

4.1   Argon, purity≥99.99%(mass fraction).

4.2   Hydrochloric acid, ρ about 1,19 g/mL.

4.3   Nitric acid, ρ about 1,42g/mL.

4.4   Hydrochloric - nitric mixture acid 3+1: add three portions of hydrochloric acid to one portion of nitric acid and mix, prepare it just before using.

4.5   Hydrochloric acid, diluted 1+9.

4.6   Sulfite, purity≥6%(mass fraction of sulfur dioxide).

4.7   Chromium standard solution

Weighing 0.1g of chromium metal(purity≥99.99%(mass fraction)), accurate to 1mg, and transfer into a 200 mL beaker. Add 5 mL of hydrochloric acid (4.2) and 2 mL of nitric acid (4.3). It should be covered with a watch-glass and heat gently to complete the dissolution. The solution shall be transferred into a 100 mL one-mark volumetric flask with hydrochloric acid (4.5) and dilute to the mark and mix. 1 mL of this solution contains 1mg of chromium.

4.8   Iron standard solution

Weighing 0.1g of iron power (purity≥99.99%(mass fraction)) , accurate to 1mg,  and transfer into a 200 mL beaker. Add 10 mL of mixture acid (4.4). It should be covered with a watch-glass and heat the solution until test portion completely dissolved. The solution shall be evaporated to approximately 5 mL, and transfer into 100 mL one-mark volumetric flask with hydrochloric acid (4.5) and dilute to the mark and mix. 1 mL of this solution contains 1mg of iron.

4.9   Yttrium internal standard solution

Weighing 0,1270g of yttrium oxide(Ⅲ) (purity≥99.99%(mass fraction)) and transfer into a 200 mL beaker. Add 5 mL of water and 5 mL of hydrochloric acid (4.2). It should be covered with a watch-glass and heat the solution until test portion completely dissolved. Cool to room temperature and the solution shall be transferred into a 100 mL one-mark volumetric flask with hydrochloric acid (4.5) and dilute to the mark and mix. 1 mL of this solution contains 1mg of yttrium.

5   Apparatus

Inductively coupled plasma atomic emission spectrometry.

The instrument used will be satisfactory if, after optimizing in accordance with the manufacturer’s instructions, it meets the performance criteria as the following.

5.1   Light source

Argon plasma light source, the maximum output power of the generator is not less than 1.3KW.

5.2   Resolution

The optical resolution is not more than 0.010nm at about 200nm and not more than 0.020nm at about 400nm.

5.3   Instrument stability

The stability of the instrument within one hour is less than 2.0%, expressed as RSD.

5.4   Detection limit of spectrometer

The detection limits of chromium, iron and yttrium in blank solution are not more than 0.01mg/l.

6   Sample

The sample in the form of drillings or flakes shall be processed into chips, then cleaned with acetone to degrease, rinsed with water, dried and mixed well.

7   Analysis procedure

7.1   Test portion

Weigh 0.1g of test portion, accurate to 0.1mg,

Two independent determinations should be required, and average the results.

7.2   Blank test

Blank test shall be done along with the test portion.

7.3   Analysis procedure

7.3.1   Preparation of the test solution

The test portion (7.1) should be placed into a 150 mL beaker. Add 10 mL of mixture acid (4.4). Cover with a watch-glass and heating in low temperature until the solution was completely dissolved. The solution should be evaporated to approximately dry. Add 2 mL of hydrochloric acid (4.2), evaporate to approximately dry again, repeat three times. The residue shall be dissolved with hydrochloric acid (4.5), and rinse watch-glass, inside of the beaker to approximately 40 mL of volume. Boiling it, then add 10mL of sulfite(4.6) in gently heat, cover with a watch-glass and boil about 30 min to the solution clear. Cool to room temperature. Transfer the solution into 100 mL one-mark volumetric flask which is pre-added 1,00 mL of yttrium standard solution(4.9). Wash the watch-glass, inside of beaker and precipitate five times with hydrochloric acid (4.5), and the solution combined to the same flask. Dilute to the mark with hydrochloric acid (4.5) and mix.

7.3.2   Preparation of the calibration solution

Transfer appropriate volume of chromium and iron standard solution (4.7, 4.8) respectively into a series of 100 mL one-mark volumetric flasks, which is diluted step by step. Add 1,00 mL of yttrium standard solution (4.9) respectively, dilute to the mark with hydrochloric acid (4.5) and mix. Such, obtain the calibration solution shown in Table 1.

Table 1                                                  in microgram per millilitre

| Calibration solution label | 1# | 2# | 3# | 4# | 5# | 6# |
| --- | --- | --- | --- | --- | --- | --- |
| Concentration of chromium | 0.50 | 2.00 | 10.00 | 25.00 | 50.00 | 80.00 |
| Concentration of iron | 0.50 | 2.00 | 10.00 | 25.00 | 50.00 | 80.00 |
| Concentration of yttrium as internal standard | 10.00 | 10.00 | 10.00 | 10.00 | 10.00 | 10.00 |

7.4   Determination

7.4.1   Condition of determination

Refer to Appendix A, optimize the condition of instrument to set parameter.

7.4.2   Analytical line

This method does not specify any particular analytical line. However, recommended wavelengths are given in Table 2.

Table 2

| Element | Wavelength/nm |
| --- | --- |
| Y (as internal standard) | 371.029 |
| Cr | 284.325 |
| Fe | 259.939 |

7.4.3   Preparation of working curve

According to the approximate concentration range of elements to be measured in test solution, choose to input 1#～4# or 3#～6# mixed differential standard solution(7.3.2) into ICP-AES to determine in accordance with the prepared procedure. Establish the calibration curve using the concentrations of elements to be measured on the x-axis and the corresponding wavelength intensities on the y-axis. The correlation coefficient of calibration curve shall be higher than 0.9999.

7.4.4   Measurement of the test solution

Input the test sample solution (7.3.1) to ICP-AES in accordance with the prepared procedure.

8   Expression of results

The mass fraction of chromium and iron, expressed as a percentage, is given by Formula (1):

wX=ρx⋅Vm0×106×100                                               (1)

In the formula:

ρx  is the concentration of chromium or iron obtained from the working curve, in µg/mL.

V    is the volume of the test solution, in mL.

m0   is the mass of the test portion, in g.

Calculate the mass fraction to the third decimal place in the case of a mass fraction more than 1%, the second decimal place in the case of a mass fraction less than 1%.

9   Tolerance

9.1   Repeatability

Within the mean values given below, the absolute difference in results of two parallel determinations under repeatability conditions shall not be greater than repeatability limit. If the difference exceeds the limit, it shall be not more than 5%.The repeatability limit is obtained by linear interpolation according to the data in Table 3.

Table 3                               in %

| Mass fraction of chromium and iron | 0.5 | 2.00 | 7.00 |
| --- | --- | --- | --- |
| Repeatability limit | 0.007 | 0.05 | 0.06 |

9.2 Tolerance

The difference in analysis results between laboratories shall not be greater than tolerance given in Table 4.

Table 4                             in %

| Mass fraction of chromium and iron | relative tolerance |
| --- | --- |
| 0.5～2.00 | 4 |
| ≥2.00～7.00 | 3 |

Annex A

(informative)

Working conditions of the apparatus

Optimize the instrument in accordance with the operating manual. Set up the parameters refer to as follows:

A.1 High Radio Frequency power of the generator is 1.2KW.

A.2 Argon flow-rate: of which cooling gas is 15 l/min, protection gas is 0.8l/min, and carrier gas is 0.3 l/min.

A.3 Vertical observation height is 15 mm.

A.4 Integration time is 5 s.

A.5 Flow velocity of injection pump is 15mL/min.